## Area 02
sn | Tag no | Problem found | complain | Action Taken | status | date
150 | 13-at-004
151 | 51-LT-071 | need calibration | Wrong reading | level calibration was done as operator hand dip | Not-closed | 01-09-2019
152 | 52-PDIT-011A | PMR | PMR | PMR was done | Not-closed | 01-09-2019
153 | 52-PDIT-011B | PMR | PMR | PMR was done | Not-closed | 01-09-2019
154 | 52-PDIT-011C | PMR | PMR | PMR was done | Not-closed | 01-09-2019
155 | 52-PDIT-011D | PMR | PMR | PMR was done | Not-closed | 01-09-2019